## Лист1
Table 4.
Conditions and period of storage of N-allylimidazole samples for stability assessment
Storage conditions | Period of storage |  | Compliance with the acceptability criterion (relative error ≤ 15%)
Result, % from nominal
At ambient temperature | 24 h | LLOQ 89,1% | Yes
ULOQ 113%
At the autosampler thermostat temperature of 2–8 °C | 24 h |  | Yes
LLOQ 87,3%
ULOQ 106%
Freezing at –80 °C, thawing at ambient temperature in three replicates | At least 36 hours in the frozen state, and at least 6 hours in the thawed state |  | Yes
LLOQ 87,7%
ULOQ 95%
At –80 °C | 96 h | LLOQ 89,3% | Yes
ULOQ 97,1%