## Лист1
Parameter |  | Plasma |  |  |  | Blood
|  | OXSA |  | OXSA-M1 |  | OXSA |  | OXSA-M1
Selectivity |  | Interference in the area of analyte retention times in blank samples did not exceed 20% of the LLOQ level and in the area of internal standard retention times did not exceed 5% of the peak area*
LLOQ |  | 10 ng/mL |  | 1 ng/mL |  | 50 ng/mL |  | 5 ng/mL
Calibration range (linear dependence) |  | 10-2000 ng/mL |  | 1-200 ng/mL |  | 50-10000 ng/mL |  | 5-1000 ng/mL
Accuracy and precision |  | Acc., % | CV, % | Acc., % | CV, % | Acc., % | CV, % | Acc., % | CV, %
Batch 1* (n=6**) | LLOQ | 85.82 | 6.54 | 92.52 | 8.21 | 96.9 | 13.79 | 115.67 | 6.78
| LQC | 90.13 | 8.85 | 93.56 | 11.76 | 105.97 | 6.07 | 103.67 | 7.23
| MQC | 94.64 | 5.15 | 91 | 7.14 | 99.87 | 4.23 | 90.45 | 6.94
| HQC | 90.57 | 7.08 | 90 | 8.44 | 89.94 | 4.32 | 92.37 | 5.38
Batch 2 (n=6**) | LLOQ | 95.65 | 8.96 | 110.21 | 9.96 | 98.9 | 11.95 | 97.33 | 16.11
| LQC | 98.36 | 6.61 | 109.71 | 6.64 | 101.76 | 7.1 | 109.44 | 12.08
| MQC | 98.65 | 5.01 | 98.87 | 5.4 | 96.23 | 7.52 | 97.76 | 5.55
| HQC | 93.54 | 6.18 | 95.45 | 4.12 | 94.62 | 7.13 | 87.47 | 4.7
Batch 3 (n=6**) | LLOQ | 106.56 | 7.62 | 104.78 | 13.13 | 103.73 | 13.28 | 114.33 | 7.12
| LQC | 98.88 | 6.74 | 96.58 | 7.32 | 87.77 | 7.6 | 104.78 | 3.72
| MQC | 92.31 | 4.6 | 91.67 | 5.24 | 101.72 | 2.65 | 102.26 | 4.88
| HQC | 95.74 | 1.82 | 95.09 | 2.08 | 107.24 | 14.07 | 100.52 | 4.3
Inter-batch accuracy and precision (n=18**) | LLOQ | 95.06 | 10.39 | 102.92 | 12.74 | 99.84 | 12.59 | 109.11 | 12.42
| LQC | 95.94 | 8.66 | 100.37 | 10.8 | 98.5 | 10.39 | 105.96 | 8.39
| MQC | 94.92 | 5.32 | 93.84 | 6.83 | 99.27 | 5.36 | 96.82 | 7.49
| HQC | 93.25 | 5.92 | 93.51 | 5.78 | 97.27 | 12.22 | 93.45 | 7.44
Reinjection reproducibility | LLOQ | 87.46 | 14.58 | 96.74 | 11.89 | 100.23 | 9.97 | 102.33 | 9.2
| LQC | 92.22 | 9.44 | 95.45 | 11.04 | 102.69 | 5.28 | 100.44 | 9.53
| MQC | 98.61 | 6.76 | 99.83 | 5.09 | 99.68 | 7.91 | 93.86 | 4.19
| HQC | 93.51 | 6.87 | 96 | 8.21 | 105.82 | 7.6 | 86.39 | 4.09
Dilution integrity (n=6) | 2-fold | 98.25 | 9.18 | 98.68 | 8.22 | 107.19 | 3.17 | 105.6 | 2.69
Matrix effect | LQC | 7.37 |  | 4.9 |  | 5.84 |  | 4.54
(СV NMF, %) | HQC | 7.49 |  | 8.28 |  | 3.19 |  | 4.05
* The selectivity evaluation was performed at Batch 1; Matrix effect evaluation accordance to ICH M10 was performed at Batch 1; **number of samples at each concentration level;