## Лист1
Parameter |  | N-hydroxy-5-[5-(trifluoromethyl)-1,2-oxazole-3-yl]-furan-2-sulfonamide |  |  | N-acetyl-5-[5-(trifluoromethyl)-1,2-oxazole-3-yl]-furan-2-sulfonamide |  |  | 5-[5-(trifluoromethyl)-1,2-oxazole-3-yl]-furan-2-sulfonic acid
|  | tR, min. | Ratio of peak area 297→136 m/z / 297→66 m/z | % of MS2-mass spectrum matches | tR, min. | Ratio of peak area 297→136 m/z / 297→66 m/z | % of MS2-mass spectrum matches | tR, min. | Ratio of peak area 297→136 m/z / 297→66 m/z | % of MS2-mass spectrum matches
|  |  |  | (Min.-max., %) |  |  | (Min.-max., %) |  |  | (Min.-max., %)
Rat plasma samples | Test samples (n=12) | 8.74±0.01 | 1.839±0.140 | 92-96% | 8.94±0.01 | 2.459±0.211 | 93-97% | - | - | -
| Spiked samples (n=6) | 8.72±0.00 | 1.821±0.038 |  | 8.93±0.02 | 2.534±0.216 |  | - | -
| % of matches* | 100.2 | 100.98 |  | 100.08 | 97.03 |  | - | -
Rat blood samples | Test samples (n=12) | 8.73±0.01 | 1.855±0.130 | 91-94% | 8.92±0.01 | 2.559±0.223 | 92-98% | - | - | -
| Spiked samples (n=6) | 8.73±0.00 | 1.839±0.085 |  | 8.93±0.01 | 2.413±0.091 |  | - | -
| % of matches | 99.96 | 100.84 |  | 99.93 | 106.04 |  | - | -
Rat urine samples | Test samples (n=12) | 8.73±0.01 | 1.926±0.224 | The comparison was not carried out due to low concentrations | 8.93±0.01 | 2.473±0.059 | 93-98% | 8.13± 0.03 | 2.856±0.163 | 91-93%
(n=6)*
| Spiked samples (n=6) | 8.73±0.00 | 1.873±0.087 |  | 8.94±0.01 | 2.527±0.060 |  | 8.16± 0.02 | 2.856±0.030
| % of matches | 99.97 | 102.81 |  | 99.98 | 97.88 |  | 99.72 | 100.01
Rabbit plasma samples | Test samples (n=12) | 8.73±0.01 | 1.771±0.184 | 93-97% | 8.92±0.01 | 2.597±0.136 | 89-92% | - | - | -
| Spiked samples (n=6) | 8.72±0.01 | 1.827±0.018 |  | 8.91±0.01 | 2.646±0.092 |  | - | -
| % of matches | 100.13 | 96.82 |  | 100.14 | 98.17 |  | - | -
Rabbit blood samples | Test samples (n=12) | 8.72±0.01 | 1.739±0.098 | 94-97% | 8.91±0.01 | 2.484±0.246 | 90-93% | - | - | -
| Spiked samples (n=6) | 8.72±0.01 | 1.78±0.04 |  | 8.91±0.01 | 2.617±0.062 |  | - | -
| % of matches | 100.01 | 97.44 |  | 99.93 | 94.91 |  | - | -