## Лист1
Table 1.
Concentrations of analytes in model urine and feces samples
Analyte | Concentration, ng/mL
Calibration samples
| K1 | K2 | K3 | K4 | K5 | K6 | K7 | K8
(LLOQ)
ODASA and M1 | 10 | 50 | 250 | 1000 | 2500 | 5000 | 7500 | 10000
M2 | 1 | 5 | 25 | 100 | 250 | 500 | 750 | 1000
M3 | 5 | 25 | 125 | 500 | 1250 | 2500 | 3750 | 5000
Quality control samples
| LQC |  | MQC |  | HQC |  | Dil
ODASA and M1 | Calibration samples K1: 30; Calibration samples K3: 3750; Calibration samples K5: 8750; Calibration samples K7: 17500
M2 | Calibration samples K1: 3; Calibration samples K3: 375; Calibration samples K5: 875; Calibration samples K7: 1750
M3 | Calibration samples K1: 15; Calibration samples K3: 187.5; Calibration samples K5: 437.5; Calibration samples K7: 875
Note: ODASA – 4-(5-methyl-1,3,4-oxadiazole-2-yl)-benzenesulfonamide; M1 – 4-[5-(hydroxymethyl)-1,3,4-oxadiazol-2-yl]-benzenesulfonamide; M2 – N-hydroxy-4-(5-methyl-1,3,4-oxadiazol-2-yl)-benzenesulfonamide; M3 – 4-(5-methyl-1,3,4-oxadiazole-2-yl)-benzenesulfonic acid; LLOQ – lower limit of quantification; LQC, MQC, HQC – quality control samples of the lower, middle and upper levels; Dil – samples for dilution integrity test.