## Лист1
Table 4.
The validation results of the method of quantification of studied compounds in rat urine
Parameter |  |  | ODASA |  | M1 |  | М2 |  | M3
Calibration curve | Range |  | 10-10000 ng/mL |  | 10-10000 ng/mL |  | 1-1000 ng/mL |  | 5-5000 ng/mL
| Function |  | linear |  | linear |  | linear |  | linear
| Weighting factor |  | 1/x |  | 1/x |  | 1/x |  | 1/x
Accuracy and precision |  |  | δ, % | CV,% | δ, % | CV,% | δ, % | CV,% | δ, % | CV,%
Batch 1 (n=6*) |  | LLOQ | -2.68 | 9.89 | 2.02 | 12.24 | 5.33 | 11.15 | 2.03 | 8.05
|  | LQC | 2.63 | 9.09 | 6.02 | 6.34 | 3.83 | 7.63 | 4.18 | 7.91
|  | MQC | 0.32 | 9.49 | 6.82 | 7.66 | 5.33 | 6.7 | 5.99 | 5.44
|  | HQC | 2.67 | 5.79 | 3.84 | 3.72 | 2.78 | 3.16 | 1.89 | 5.12
Batch 2 (n=6*) |  | LLOQ | -2.95 | 10.11 | -2.42 | 9.86 | -1.83 | 13.04 | -0.87 | 10.91
|  | LQC | 0.73 | 6.77 | 2.87 | 6.29 | 1.44 | 7.56 | 1.22 | 6.96
|  | MQC | 2.88 | 8.36 | -2.48 | 7.91 | 5.43 | 7.11 | -6.54 | 4.18
|  | HQC | 4.3 | 4.68 | 1.33 | 4.86 | 2.71 | 2.95 | -7.67 | 4.53
Batch 3 (n=6*) |  | LLOQ | 6.93 | 7.22 | 0.45 | 9.12 | 2.17 | 13.18 | 0.93 | 6.52
|  | LQC | 2.03 | 5.03 | 1.17 | 8.4 | 2.89 | 5.75 | 1.48 | 4.38
|  | MQC | 3.76 | 6.07 | 2.48 | 8.7 | 0.31 | 7.05 | -6.54 | 4.18
|  | HQC | 1.25 | 4.39 | 1.15 | 4.85 | 1.64 | 3.73 | 1.36 | 7.28
Inter-batch accuracy and precision (n=18*) |  | LLOQ | 0.43 | 9.73 | 0.02 | 10.07 | 1.89 | 12.07 | 0.7 | 8.22
|  | LQC | 1.8 | 6.79 | 3.35 | 6.92 | 2.72 | 6.68 | 2.29 | 6.36
|  | MQC | 2.32 | 7.72 | 2.27 | 8.52 | 3.69 | 6.95 | -2.36 | 7.65
|  | HQC | 2.74 | 4.85 | 2.11 | 4.4 | 2.38 | 3.14 | -1.47 | 7.15
Reinjection reproducibility (48 h) |  | LLOQ | -2.42 | 3.95 | -2.5 | 7.73 | 1 | 11.18 | 0.6 | 7.33
|  | LQC | 0.57 | 7.34 | 1.46 | 6.98 | 3.61 | 5.28 | 2.7 | 5.8
|  | MQC | 0.94 | 11.17 | 5.85 | 7.21 | 3.58 | 7.65 | 2.05 | 5.86
|  | HQC | 1.54 | 3.67 | 5.69 | 5.11 | 3.85 | 2.77 | -0.15 | 3.94
Dilution integrity (n=6) |  | Dil | 7.83 | 2.07 | 6.66 | 3.84 | 5.4 | 5.07 | 3.53 | 4.96
Matrix effect (CV (NMF), %) |  | LQC | 8.69 |  | 4.72 |  | 7.57 |  | 5.88
|  | HQC | 4.36 |  | 8.42 |  | 6.07 |  | 6.48
*number of samples at each concentration level
Note: ODASA – 4-(5-methyl-1,3,4-oxadiazole-2-yl)-benzenesulfonamide; M1 – 4-[5-(hydroxymethyl)-1,3,4-oxadiazol-2-yl]-benzenesulfonamide; M2 – N-hydroxy-4-(5-methyl-1,3,4-oxadiazol-2-yl)-benzenesulfonamide; M3 – 4-(5-methyl-1,3,4-oxadiazole-2-yl)-benzenesulfonic acid; LLOQ – lower limit of quantification; LQC, MQC, HQC – quality control samples of the lower, middle and upper levels; Dil – samples for dilution integrity test, NMF- normalized matrix factor.