## Лист1
Table 5.
The validation results of the method of quantification of studied compounds in rat feces
Parameter |  |  | ODASA |  | M1 |  | М2 |  | M3
Calibration curve | Range |  | 10-10000 ng/g |  | 10-10000 ng/g |  | 1-1000 ng/g |  | 5-5000 ng/g
| Function |  | linear |  | linear |  | linear |  | linear
| Weighting factor |  | 1/x |  | 1/x |  | 1/x |  | 1/x
Accuracy and precision |  |  | δ, % | CV,% | δ, % | CV,% | δ, % | CV,% | δ, % | CV,%
Batch 1 (n=6*) |  | LLOQ | 1.02 | 9.93 | 5.17 | 10.77 | 3.67 | 12.07 | 2.43 | 12.88
|  | LQC | 1.91 | 7.16 | 5.68 | 6.05 | 1.06 | 6.18 | 4.28 | 5.43
|  | MQC | 4.44 | 4.91 | 3.9 | 7.92 | 2.62 | 3.75 | 3.72 | 8.98
|  | HQC | 2.36 | 3.69 | 2.21 | 3.72 | 1.66 | 2.76 | 0.64 | 3.92
Batch 2 (n=6*) |  | LLOQ | 3.75 | 7.98 | 0.23 | 12 | -3.5 | 9.05 | 0.57 | 10.97
|  | LQC | -2.47 | 5.64 | 0.54 | 7.87 | 2.56 | 8.86 | 4.61 | 6.54
|  | MQC | 1.6 | 10.43 | 5.98 | 9.19 | 3.97 | 9 | 3.89 | 9.84
|  | HQC | 1.94 | 4.05 | 1.68 | 5.02 | 0.88 | 4.15 | 0.87 | 3.34
Batch 3 (n=6*) |  | LLOQ | -5.95 | 9.1 | 0.03 | 8.76 | 2.17 | 11.17 | 4.63 | 7.89
|  | LQC | 2.68 | 9.66 | 7.77 | 5.01 | 1.83 | 7 | 4.47 | 6.88
|  | MQC | 3.6 | 6.59 | 5.08 | 4.24 | 3.86 | 4.4 | 5.27 | 5.6
|  | HQC | 1.25 | 2.98 | 1.83 | 3.84 | 1.84 | 3.94 | 1.09 | 5.56
Inter-batch accuracy and precision (n=18*) |  | LLOQ | -0.39 | 9.47 | 1.81 | 10.25 | 0.78 | 10.73 | 2.54 | 10.23
|  | LQC | 0.71 | 7.62 | 4.66 | 6.68 | 1.81 | 7.02 | 4.45 | 5.93
|  | MQC | 3.21 | 7.25 | 4.99 | 7.03 | 3.48 | 5.85 | 4.29 | 7.85
|  | HQC | 1.85 | 3.41 | 1.91 | 3.98 | 1.46 | 3.47 | 0.87 | 4.12
Reinjection reproducibility (48 h) |  | LLOQ | 3.63 | 9.41 | 2.33 | 11.49 | 3.83 | 10.43 | 3.27 | 4.22
|  | LQC | 0.7 | 7.39 | 3.72 | 5.38 | 1.22 | 7.26 | 5.2 | 5.64
|  | MQC | 3.12 | 4.37 | 4.98 | 5.88 | 1.89 | 2.97 | 2.96 | 5.01
|  | HQC | 1.6 | 2.86 | 3.39 | 2.74 | 1.94 | 2.66 | 2.19 | 5.7
Dilution integrity (n=6) |  | Dil | 1.46 | 5.71 | 1.23 | 5.36 | 3.16 | 5.07 | 0.92 | 6.85
Matrix effect (CV (NMF), %) |  | LQC | 4.93 |  | 5.9 |  | 6.05 |  | 8.08
|  | HQC | 3.47 |  | 6.69 |  | 7.18 |  | 6.78
*number of samples at each concentration level
Note: ODASA – 4-(5-methyl-1,3,4-oxadiazole-2-yl)-benzenesulfonamide; M1 – 4-[5-(hydroxymethyl)-1,3,4-oxadiazol-2-yl]-benzenesulfonamide; M2 – N-hydroxy-4-(5-methyl-1,3,4-oxadiazol-2-yl)-benzenesulfonamide; M3 – 4-(5-methyl-1,3,4-oxadiazole-2-yl)-benzenesulfonic acid; LLOQ – lower limit of quantification; LQC, MQC, HQC – quality control samples of the lower, middle and upper levels; Dil – samples for dilution integrity test, NMF- normalized matrix factor.